## Tabelle1
Read command to BMS: | [23 empty] | Answer from BMS: | [24 empty] | Received Value (dez.) | formated value
| SOC | 4E | 57 | 00 | 13 | 00 | 00 | 00 | 00 | 03 | 03 | 00 | 85 | 00 | 00 | 00 | 00 | 68 | 00 | 00 | 01 | AB |  | 4E | 57 | 00 | 14 | 00 | 00 | 00 | 00 | 03 | 00 | 01 | 85 | 63 | 00 | 00 | 00 | 00 | 68 | 00 | 00 | 02 | 0D |  |  |  | 99 | 99%
| U Batt | 4E | 57 | 00 | 13 | 00 | 00 | 00 | 00 | 03 | 03 | 00 | 83 | 00 | 00 | 00 | 00 | 68 | 00 | 00 | 01 | A9 |  | 4E | 57 | 00 | 15 | 00 | 00 | 00 | 00 | 03 | 00 | 01 | 83 | 0A | C3 | 00 | 00 | 00 | 00 | 68 | 00 | 00 | 02 | 76 |  |  | 2755 | 27,55V
| I Batt | 4E | 57 | 00 | 13 | 00 | 00 | 00 | 00 | 03 | 03 | 00 | 84 | 00 | 00 | 00 | 00 | 68 | 00 | 00 | 01 | AA |  | 4E | 57 | 00 | 15 | 00 | 00 | 00 | 00 | 03 | 00 | 01 | 84 | 80 | 12 | 00 | 00 | 00 | 00 | 68 | 00 | 00 | 02 | 0D |  |  | -18 | -0,18A
| T Batt | 4e | 57 | 00 | 13 | 00 | 00 | 00 | 00 | 03 | 03 | 00 | 81 | 00 | 00 | 00 | 00 | 68 | 00 | 00 | 01 | A7 |  | 4E | 57 | 00 | 15 | 00 | 00 | 00 | 00 | 03 | 00 | 01 | 81 | 00 | 16 | 00 | 00 | 00 | 00 | 68 | 00 | 00 | 01 | BD |  |  | 22 | 22°C
| MSG | 4E | 57 | 00 | 13 | 00 | 00 | 00 | 00 | 03 | 03 | 00 | 8B | 00 | 00 | 00 | 00 | 68 | 00 | 00 | 01 | B1 |  | 4E | 57 | 00 | 15 | 00 | 00 | 00 | 00 | 03 | 00 | 01 | 8B | 00 | 00 | 00 | 00 | 00 | 00 | 68 | 00 | 00 | 01 | B1 |  |  | 0 | Byte 1
| C Bat | 4E | 57 | 00 | 13 | 00 | 00 | 00 | 00 | 03 | 03 | 00 | AA | 00 | 00 | 00 | 00 | 68 | 00 | 00 | 01 | D0 |  | 4E | 57 | 00 | 17 | 00 | 00 | 00 | 00 | 03 | 00 | 01 | AA | 00 | 00 | 00 | 06 | 00 | 00 | 00 | 00 | 68 | 00 | 00 | 02 | 0D | 6 | 6 Ah
[23 empty] | Index: | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | [14 empty] | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72
| Report? | 4E | 57 | 00 | 13 | 00 | 00 | 00 | 00 | 06 | 03 | 00 | 00 | 00 | 00 | 00 | 00 | 68 | 00 | 00 | 01 | 29 | Raw Data: | 4E | 57 | 1 | 2D | 00 | 00 | 00 | 00 | 06 | 00 | 01 | 79 | 3c | [14 empty] | 01 | 0f | 7a | 02 | 0f | 7a | 03 | 0f | 7a | 04 | 0f | 7a | 05 | 0f | 7a | 06 | 0f | 73 | 07 | 0f | 7a | 08 | 0f | 7a | 09 | 0f | 7a | 0A | 0f | 7c | 0b | 0f | 7c | 0c | 0f | 7c | 0d | 0f | 7c | 0e | 0f | 7c | 0f | 0f | 7c | 10 | 0f | 7c | 11 | 0f | 7c | 12 | 0f | 7c | 13 | 0f | 7c | 14 | 0f | 7c
[23 empty] | In Dec: | [12 empty] | 60 | [14 empty] | 1 | 15 | 122 | 2 | 15 | 122 | 3 | 15 | 122 | 4 | 15 | 122 | 5 | 15 | 122 | 6 | 15 | 115 | 7 | 15 | 122 | 8 | 15 | 122 | 9 | 15 | 122 | 10 | 15 | 124 | 11 | 15 | 124 | 12 | 15 | 124 | 13 | 15 | 124 | 14 | 15 | 124 | 15 | 15 | 124 | 16 | 15 | 124 | 17 | 15 | 124 | 18 | 15 | 124 | 19 | 15 | 124 | 20 | 15 | 124
[23 empty] | Interpreted: | [27 empty] | 1 | 3962 |  | 2 | 3962 |  | 3 | 3962 |  | 4 | 3962 |  | 5 | 3962 |  | 6 | 3955 |  | 7 | 3962 |  | 8 | 3962 |  | 9 | 3962 |  | 10 | 3964 |  | 11 | 3964 |  | 12 | 3964 |  | 13 | 3964 |  | 14 | 3964 |  | 15 | 3964 |  | 16 | 3964 |  | 17 | 3964 |  | 18 | 3964 |  | 19 | 3964 |  | 20 | 3964
|  | Start 1 | Start 2 | Length 1 | Length 2 | BMS ID | BMS ID | BMS ID | BMS ID | Function | Frame Source Description | Transport Type | Frame Info | RND Code | Rec Code 1 | Rec Code 2 | Rec Code 3 | End Code -x68 | CRC1 | CRC2 | CRC3 | CRC4 | Description: | Start 1 | Start 2 | Length 1 | Length 2 | BMS ID | BMS ID | BMS ID | BMS ID | Function | Frame Source Description | Transport Type | Frame Info | tCellInfoLength | [14 empty] | 13: Cell1; 14: Hi; 15: Lo; 16: Cell2; 17: Hi; 18: Lo; 19: Cell3; 22: Etc; 70: Cell20; 71: Hi; 72: Lo
[6 empty] | Highest byte is default 00* | Highest byte is default 00* | Highest byte is default 00* | Highest byte is default 00* | 1=Activate, 3=ReadIdentifier, 6=ReadAllData | 0=BMS, 1=Bluetooth, 2=GPRS, 3=PC | 0=Request, 1=Response, 2=BMSActiveUpload | 0=ReadAllData or commandToken | [14 empty] | Highest byte is default 00* | Highest byte is default 00* | Highest byte is default 00* | Highest byte is default 00* | 1=Activate, 3=ReadIdentifier, 6=ReadAllData | 0=BMS, 1=Bluetooth, 2=GPRS, 3=PC | 0=Request, 1=Response, 2=BMSActiveUpload | 0=ReadAllData or commandToken
[111 empty] | Index: | Description | Data: | [9 empty] | Interpretation
[111 empty] | 73 | TokenTemperaturePowerMosFet | 0x80 | 0x00 | 0x15 | [7 empty] | 21
[111 empty] | 76 | TokenTemperatureSensor1 | 0x81 | 0x00 | 0x10 | [7 empty] | 16
[111 empty] | 79 | TokenTemperatureSensor2 | 0x82 | 0x00 | 0x10 | [7 empty] | 16
[111 empty] | 82 | TokenVoltage | 0x83 | 0x1E | 0xF5 | [7 empty] | 7925 | 10mV | 79.25 |  | 131
[111 empty] | 85 | TokenCurrent | 0x84 | 0x00 | 0x00 | [7 empty] | 0
[111 empty] | 88 | TokenSOCPercent | 0x85 | 0x57 | [8 empty] | 87 |  | 87%
[111 empty] | 90 | TokenNumberOfTemperatureSensors | 0x86 | 0x02 | [8 empty] | 2
[111 empty] | 92 | TokenCycles | 0x87 | 0x00 | 0x00 | [7 empty] | 0
[111 empty] | 95 | TokenTotalBatteryCycleCapacity | 0x89 | 0x00 | 0x00 | 0x00 | 0x01 | [5 empty] | 0
[111 empty] | 100 | TokenNumberOfBatteryCells | 0x8A | 0x00 | 0x14 | [7 empty] | 20 |  | 20
[111 empty] | 103 | TokenBatteryAlarm | 0x8B | 0x00 | 0x00 | [7 empty] | 0
[111 empty] | 106 | TokenBatteryStatus | 0x8C | 0x00 | 0x03 | [7 empty] | 3 |  | Charge Active,Discharge Active,Balancer Active,BatteryDown
[111 empty] | 109 | TokenBatteryOvervoltageProtection10Millivolt | 0x8E | 0x20 | 0xD0 | [7 empty] | 8400 |  | 84
[111 empty] | 112 | TokenBatteryUndervoltageProtection10Millivolt | 0x8F | 0x16 | 0x08 | [7 empty] | 5640 |  | 56.4
[111 empty] | 115 | TokenCellOvervoltageProtectionMillivolt | 0x90 | 0x10 | 0x68 | [7 empty] | 4200 |  | 4.2
[111 empty] | 118 | CellOvervoltageRecoveryMillivolt | 0x91 | 0x10 | 0x54 | [7 empty] | 4180 |  | 4.18
[111 empty] | 121 | TokenCellOvervoltageDelaySeconds | 0x92 | 0x00 | 0x05 | [7 empty] | 5
[111 empty] | 124 | TokenCellUndervoltageProtectionMillivolt | 0x93 | 0x0B | 0x04 | [7 empty] | 2820
[111 empty] | 127 | TokenCellUndervoltageRecoveryMillivolt | 0x94 | 0x0B | 0x22 | [7 empty] | 2850
[111 empty] | 130 | TokenCellUndervoltageDelaySeconds | 0x95 | 0x00 | 0x05 | [7 empty] | 5
[111 empty] | 133 | TokenVoltageDifferenceProtectionMillivolt | 0x96 | 0x01 | 0x2C | [7 empty] | 300 | ??mV
[111 empty] | 136 | TokenDischargeOvercurrentProtectionAmpere | 0x97 | 0x00 | 0x28 | [7 empty] | 40
[111 empty] | 139 | TokenDischargeOvercurrentDelaySeconds | 0x98 | 0x01 | 0x2C | [7 empty] | 300
[111 empty] | 142 | TokenChargeOvercurrentProtectionAmpere | 0x99 | 0x00 | 0x19 | [7 empty] | 25
[111 empty] | 145 | TokenChargeOvercurrentDelaySeconds | 0x9A | 0x00 | 0x1E | [7 empty] | 30
[111 empty] | 148 | TokenBalancingStartVoltage | 0x9B | 0x0B | 0xB8 | [7 empty] | 3000 | mV
[111 empty] | 151 | TokenBalancingStartDifferentialVoltage | 0x9C | 0x00 | 0x0A | [7 empty] | 10 | mV
[111 empty] | 154 | TokenBalancingState | 0x9D | 0x01 | [8 empty] | 1
[111 empty] | 156 | TokenPowerMosFetTemperatureProtection | 0x9E | 0x00 | 0x64 | [7 empty] | 100
[111 empty] | 159 | TokenPowerMosFetRecoveryTemperature | 0x9F | 0x00 | 0x50 | [7 empty] | 80
[111 empty] | 162 | TokenSensor1TemperatureProtection | 0xA0 | 0x00 | 0x64 | [7 empty] | 100
[111 empty] | 165 | TokenSensor1RecoveryTemperature | 0xA1 | 0x00 | 0x64 | [7 empty] | 100
[111 empty] | 168 | TokenBatteryDifferenceTemperatureProtection | 0xA2 | 0x00 | 0x14 | [7 empty] | 20
[111 empty] | 171 | TokenChargeOvertemperatureProtection | 0xA3 | 0x00 | 0x46 | [7 empty] | 70
[111 empty] | 174 | TokenDischargeOvertemperatureProtection | 0xA4 | 0x00 | 0x46 | [7 empty] | 70
[111 empty] | 177 | TokenChargeUndertemperatureProtection | 0xA5 | 0xFF | 0xEC | [7 empty] | 65516
[111 empty] | 180 | TokenChargeRecoveryUndertemperature | 0xA6 | 0xFF | 0xF6 | [7 empty] | 65526
[111 empty] | 183 | TokenDischargeUndertemperatureProtection | 0xA7 | 0xFF | 0xEC | [7 empty] | 65516
[111 empty] | 186 | TokenDischargeRecoveryUndertemperature | 0xA8 | 0xFF | 0xF6 | [7 empty] | 65526
[111 empty] | 189 | TokenBatteryCellCount | 0xA9 | 0x14 | [8 empty] | 20
[111 empty] | 191 | TokenTotalCapacity | 0xAA | 0x00 | 0x00 | 0x00 | 0x09
[111 empty] | 196 | TokenChargeMosFetState | 0xAB | 0x01 | [8 empty] | 1
[111 empty] | 198 | TokenDischargeMosFetState | 0xAC | 0x01 | 0xAD | 0x03 | 0xD9
[111 empty] | 203 | TokenDischargeMosFetState | 0xAE | 0x01 | [8 empty] | 1
[111 empty] | 205 | TokenBatteryType | 0xAF | 0x01 | [8 empty] | 1
[111 empty] | 207 | TokenSleepWaitingTime | 0xB0 | 0x00 | 0x0A
[111 empty] | 210 | TokenLowCapacityAlarm | 0xB1 | 0x14 | [8 empty] | 20
[111 empty] | 212 | TokenModifyParameterPassword | 0xB2 | 0x31 | 0x32 | 0x33 | 0x34 | 0x35 | 0x36 | 0x00 | 0x00 | 0x00 | 0x00
[111 empty] | 223 | TokenDedicatedChargerSwitchState | 0xB3 | 0x00 | [8 empty] | 0
[111 empty] | 225 | TokenDeviceIdString | 0xB4 | 0x49 | 0x6E | 0x70 | 0x75 | 0x74 | 0x20 | 0x55 | 0x73
[111 empty] | 234 | TokenManufacturerDate | 0xB5 | 0x32 | 0x34 | 0x30 | 0x33
[111 empty] | 239 | TokenSystemWorkingMinutes | 0xB6 | 0x00 | 0x00 | 0x6A | 0x51
[111 empty] | 244 | TokenSoftwareVersionNumber | 0xB7 | 0x31 | 0x31 | 0x2E | 0x58 | 0x57 | 0x5F | 0x53 | 0x31 | 0x31 | 0x2E | 0x32 | 0x37 | 0x31 | 0x5F | 0x5F
[111 empty] | 260 | TokenStartCurrentCalibration | 0xB8 | 0x00 | [8 empty] | 0
[111 empty] | 262 | TokenActualBatteryCapacity | 0xB9 | 0x00 | 0x00 | 0x00 | 0x09
[111 empty] | 267 | TokenManufacturerId | 0xBA | 0x49 | 0x6E | 0x70 | 0x75 | 0x74 | 0x20 | 0x55 | 0x73 | 0x65 | 0x72 | 0x64 | 0x61 | 0x4A | 0x4B | 0x5F | 0x42 | 0x44 | 0x34 | 0x41 | 0x32 | 0x34 | 0x53 | 0x34 | 0x50 | 1
[111 empty] | 292 | TokenProtocolVersionNumber | 0xC0 | 0x01
[111 empty] | 294 | RND Code & JK Rec Code 1,2,3 | 0x00 | 0x00 | 0x00 | 0x00
[111 empty] | 298 | EndofFrame Token | 0x68
[111 empty] | 299 | CRC | 0x00 | 0x00 | 0x53 | 0x21
[111 empty] | 303 | BufferBingo…